DAILY WATER STATUS REPORT

WATER DEPARTMENT

07/12/2025

|  | Reservoir | Level | %Full | Rainfall# | Flow Release to River# |
| --- | --- | --- | --- | --- | --- |
|  | South Rivanna | Full | 100.00 | 1.21'' | Spillway Overflow |
|  | Ragged Mountain | Full | 100.00 | 0.00'' | Spillway Overflow |
|  | Sugar Hollow | Full | 100.00 | 0.00'' | Spillway Overflow |
|  | Beaver Creek | Full | 100.00 | 0.00'' | Spillway Overflow |
|  | Totier Creek | Full | 100.00 | 0.00'' | Spillway Overflow |

|  | # Rainfall and flow release are totals from the previous day. |
| --- | --- |
|  | Urban Reservoirs: 100.00% of Useable Capacity. |
|  | The Sugar Hollow Reservoir to Ragged Mountain Reservoir Transfer Line was opened on June 20, 2025, and closed on June 23, 2025 for maintenance on the pipeline. |

|  | 07/11/2025 | Production (MG) |
| --- | --- | --- |
|  | South Rivanna WTP | 9.610 |
|  | Observatory WTP | 0.805 |
|  | North Rivanna WTP | 0.082 |
|  | Total Urban Flow | 10.497 |
|  | Crozet WTP | 0.653 |
|  | Scottsville WTP | 0.058 |
|  | Red Hill WTP | 0.001 |

___________________________________